SOP – LB Agar (+ Antibiotic) Plates (1 Sleeve)

Materials:

LB Agar Powder
dH2O
70% Ethanol
Antibiotic Stocks

Procedure:

- To 800 mL of dH2O add 28 grams of LB Agar Powder. Swirl to mix to form a medium/agar colloid.

- Autoclave solution for at least 15 minutes at 121 °C.

  - During the sterilization, prepare the plate pouring station:

    - Spray down the bench with 70% ethanol solution and wipe down with a paper towel.

    - Count out the appropriate number of plates and stack them on the lab bench.

    - If necessary label the plates with the appropriate antibiotic color.

- After autoclaving, let the solution cool to ~60 °C.

  - If necessary add 1000x (with the exception of Chloramphenicol which is 2000x) of the antibiotic solution by the flame. The rule-of-thumb is if you can hold the autoclaved LB Agar solution with lab gloves, it is cool enough to add the antibiotic solution. Make sure the solution is well mixed. See below for the concentrations of the antibiotics that are used in the Koffas Lab.

- Open one plate at a time next to the flame and add 25 mL of the LB Agar solution by the flame.

- Leave the plates on the bench to solidify overnight.

- Re-sleeve the plates and store at 4 °C.

Communal Koffas Lab Antibiotic Final Concentrations

- Kanamycin 50 μg/mL

- Ampicillin 80 μg/mL

- Tetracycline 25 μg/mL

- Chloramphenicol 25 μg/mL

- Spectinomycin 50 μg/mL